District Energy Model (DEM): An open-source model for local energy system simulation and optimisation.

Authors: Ueli, Pascal, Somesh, Philipp

# Summary

The transition to local, decentralised renewable energy technologies provides a promising solution to reach net-zero emission targets for a decarbonised energy system. Such a transition requires the evaluation of potential future scenarios on various spatial scales [ref_1]. For this purpose, computational energy system models are deployed. The *District Energy Model (DEM)* is a Python-based multi-energy system model designed to simulate scenarios from neighbourhood to regional scale with a focus on the integration of decentralized renewable energy technologies (e.g., solar, wind, biomass). DEM runs simulation and optimisation studies in hourly resolution using a "snapshot-year" approach [ref_2]. DEM is deployed as an open-source Python library, available as a PyPi package. Once installed, it can be launched with a command-line interface, not requiring any Python programming knowledge. Alternatively, a Python API is also provided so that it can be run programmatically. Two types of input files are required for the DEM to run: *configuration files* and *data files*. The *Configuration files* specify the simulation metrics (e.g., buildings to consider, simulation timeframe, output to generate) and define the energy system configuration (e.g., scenarios, technologies, selected year). These are provided in YAML format [ref_yaml]. In Python, configuration input can also be passed directly to DEM without the need of configuration files. The *Data files* contain information about energy demand, generation potential, and ambient conditions. These are provided to DEM in FEATHER format [ref_feather]. For selected regions, data files have been compiled from public data sources and made available on a public repository to be used with DEM. This provides modellers with a fully parametrised model, eliminating the need of collecting and compiling such data. For example, data for a full parametrisation of DEM is available for every municipality in Switzerland.

The DEM comes with a detailed [documentation](https://dem-documentation.readthedocs.io/en/latest/) providing step-by-step instructions, explaining the modelling approaches and methods, and listing information about publications and research related to DEM.

# Statement of need

Several countries have set net-zero emission targets for some point in the future. For example, Switzerland is set to reach this target by 2050. In many cases, the defined strategy for reaching large emission reductions in the energy sector is a shift from larger centralised generation units to local decentralised renewable energy resources such as solar power, wind power, and biomass. To facilitate future energy planning and inform policies, there is a need to evaluate energy system scenarios on a local scale such as districts, municipalities, cities, or similarly sized regions. There is a need to investigate the system-integrated deployment of renewable energy generation, conversion, and storage technologies, analyse different energy demand scenarios and generate solutions that or optimally tuned to one or several objectives (e.g., costs, emissions, energy security). DEM provides these functionalities, specifically focusing on the use of local renewable energy resources and technologies and the integration these technologies in local system boundaries. Various energy system and demand scenarios can be evaluated and compared to each other. Furthermore, due to the increased deployment of variable, distributed energy resources, the use of supply- and demand-side flexibility options is thought to be a relevant factor in future energy systems [ref]. DEM models various flexibility options such as flexible electric vehicle charging, storage technologies (e.g., thermal, electric, hydrogen), and PV curtailment.

While many other multi-energy system models have also successfully been applied in case studies investigating local energy system scenarios [refs], they usually look at one specific location (i.e., a municipality) which makes the results unique to the selected location. The evaluation of another location then requires the modeller to re-parametrise the model and collect new input data such as demand profiles, cost information, or technology specifications. A large portion of the work when creating simulation studies goes into the collection and generation of such data. DEM eliminates the need for this work as it already provides this type of data for selected regions and therefore greatly reduces the workload for the modeller. The provided data has been collected from various public sources and pre-processed for use in simulation studies. Therefore, simulation and optimisation studies can be carried out in DEM with minimal configuration requirements (e.g., which buildings to consider), while still maintaining maximum flexibility of substituting any of the pre-configured data with custom data and configurations if the need arises. For regions where this data is not provided, a modeller can create it based on the data requirements specified in the documentation pages. The architecture of the input data is structured in a way that data for a larger region (e.g., a country) can be provided, and simulations can be carried out for subsets of this data (e.g., districts, municipalities).

While an optimisation study is very useful to determine optimal technology design and operation, many energy system scenarios (e.g., integration of a specific technology) can be studied without the need of optimisation. DEM's architecture makes the application of optimisation optional, and simulations can be carried out without optimisation. This allows for short computation times and fast result generation.

# Modelling approach

DEM simulates the energy flows in a district, combining bottom-up with top-down modelling. A district in this context can refer to anything from a small group of buildings to an entire municipality or city. Several characteristics are obtained for each individual building (e.g., building type, location, size, age, heat and electricity demand, heating system, solar energy resources), while other data is assessed on district-level (e.g., wind power resources, biomass resources, ambient conditions, mobility demand). The basis for any simulation is a set of resources (e.g., wind, solar, biomass, hydro), a set of technologies (generation, conversion, and storage), and a set of demand profiles for heat, electricity, and mobility. An exemplary energy system layout is shown in Fig. \autoref{fig:dem_layout}.

DEM is flexible in regard to the number of buildings that are considered for a simulation, allowing for a customized selection of the district boundaries and buildings included in a model.

The general workflow of DEM is as follows: (1) input data collection; (2) model parametrisation and configuration; (3) Scenario generation; (4a) simulation; (4b) optimisation (optional); (6) output generation.

The optimisation module in DEM is implemented using the Calliope framework [ref], which is based on the optimisation programming framework Pyomo [ref].

![Example of a district energy system with resources, generation, conversion, and storage technologies, and various energy demands. The full list of available resources and technologies can be found on the documentation website. \label{fig:dem_layout}]( dem_example_layout.png){ width=100% }

# Acknowledgements

The research published in this publication was carried out with the support of the Swiss Federal Office of Energy as part of the SWEET consortium EDGE. The authors bear sole responsibility for the conclusions and the results presented in this publication.

# References

- Calliope

- Pyomo

- FEATHER

- YAML

MAYBE USED LATER

Many open-source energy system modelling frameworks exist, such as e.g., SESMG [ref], EHTOS.FINE [ref], REHO [ref], CESAR-P [ref], EnergyPlus [ref], EnergyScope [ref] (..find more). While these models provide valuable frameworks for evaluating multi-energy systems on various spatial and temporal scales, they require the modeller to provide input data such as demand profiles, cost information, or technology specifications.