District Energy Model (DEM): An open-source model for local energy system optimisation.

Authors: Ueli, Pascal, Somesh, Philipp

Summary

The transition from centralised to decentralised energy systems for achieving net-zero emission targets requires the evaluation of potential future scenarios on various spatial scales [ref]. The *District Energy Model (DEM)* is a Python-based multi-energy system model designed to simulate energy flow scenarios from neighbourhood to regional scale with a focus on the integration of decentralized renewable energy technologies (e.g., solar, wind, biomass). DEM runs simulation and optimisation studies in hourly resolution using a "snapshot-year" approach [ref Marechal]. For selected regions (e.g., Switzerland), compiled input data from public sources is provided to run studies without the need of collecting and compiling such data.

- Configuration Files and Data Files

- Command-line tools and Python API

- Energy-hub concept: https://doi.org/10.1016/j.rser.2017.07.030

Statement of need

- What stands out from a research perspective? Flexibility considerations; local boundaries, while also considering national electricity provision (as an interface model between local, regional, and national energy planning)

- Availability of open-source data: pulling it together in one model

- Bottom-up demand consideration of individual buildings

- Focus on integration of local, decentralized energy sources and technologies

- Energy-planning on neighbourhood-scale

- No extensive modelling required, yet flexible in scenario creation.

- Pre-configured with standard values for the Swiss energy system

- Automated parametrisation: Provided for Switzerland; Other countries to be added  can also be added by users, as the required data structure is provided

- Selection of custom district

- Optimisation optional

Many open-source energy system modelling frameworks exist, such as e.g., SESMG [ref], EHTOS.FINE [ref], REHO [ref], (..find more). Each model has strengths and weaknesses and specific scopes of application. While these models provide valuable frameworks for evaluating multi-energy systems on various spatial and temporal scales, they require the user to provide input data such as demand profiles, cost information, or technology specifications. A large portion of the work when creating simulation studies using a modelling framework goes into the collection and generation of such data. DEM eliminates the need for this work as it already provides this type of data for selected regions and therefore greatly reduces the workload for the modeller. The provided data has been collected from various public sources and pre-processed for use in simulation studies. Therefore, simulation and optimisation studies can be run in DEM with only minimal configuration requirements (e.g., which buildings to consider), while still maintaining maximum flexibility of substituting any of the pre-configured data with custom data and configurations if the need arises.

While an optimisation study is very useful to determine optimal technology design and operation, many energy provision scenarios can be simulated without applying optimisation. Therefore, DEM can also be run as a simulation without optimisation for various scenarios. This allows for short computation times and fast result generation.

[Research and future development]

Acknowledgements

The research published in this publication was carried out with the support of the Swiss Federal Office of Energy as part of the SWEET consortium EDGE. The authors bear sole responsibility for the conclusions and the results presented in this publication.

References

Add something similar to this (linking to documentation):

"The SESMG comes with a detailed documentation, including step-by-step instructions, explanations of all modeling methods, and troubleshooting with known application errors. In addition, the documentation includes an ongoing list of peer review publications, conference proceedings, study works, research projects, and other publications related to the SESMG."

"REHO is deployed as an open-source and collaborative Python library, available as a PyPI package and supported by comprehensive documentation. The documentation website includes step-by-step instructions, details about the mathematical background and model foundations, as well as a list of academic publications, conference proceedings, research projects, and other works related to REHO."